Energy Transport
& optimization of the solver
Shulin Gao
Teng Wang
Andrea Tagliabue
20th July 2012

---
Outline
- Motivation
- Theory
- Test case
- Implementation
- Cases simulation
- Optimization
- Outlook

---
Talk about the practical issues..
From the view of economization-of-energy and economization-of-money, we want to find the optimal position for one air conditioning..

---
Where we have to start?
Where we have to start?
Heat equation
  - Constant thermal diffusivity
  - Negligible viscous dissipation
  - Heat source q‘‘‘
and now boissinesque approximation….

---
How to operate in one example: Acquarius
How to operate in one example
Variable	Value
Coefficient of thermal expansion	ß=2,07e-4[1/K]
Temperature of the water at the beginning:To	To =29 ° C
Temperature of the air at the top	T_C=28 ° C
Temperature of the heat system	T_H=31°C
Minimal temperature at which we have to turn on the heat system	T_on=27°C
Time steps for which the heat system will work	t_work=400

---
The system
The system

---
Boundary conditions
Boundary conditions
- Up:T=T_C
- Left and right: we calculate
Below we put two different conditions:
  - When the system is on: T=T_H
  - When the system is off:T[i][0]=T[i][1](adiabatic)

---
Dimensionless parameters
Dimensionless parameters
Buckingham theorem dimensional analysis
  - Standard gravity:
  - Length x,y:
  - Temperature:
  - Coefficient thermal expansion:

---
Why do we have to adimensionalize?
Why do we have to adimensionalise
- To analyze a model is cheaper than to always analyze the main system
- To reduce the number of the number of the dimension present in our system
  - Es: 3 lengths[m,s,Kg,] ,5 variables[L,h,v,vo,F]
the system can be written with 2 dimensionless variables

---
New dimensionless values
New dimensionless values
Variable	Value
Temperature of the at the beginning	To ‘=0.7
Temperature of the air in the top	T_C‘=0.33
Temperature of the heat system:	T_H‘=1.33
Minimal temperature for that we have to turn on the heat system	T_on‘=0
Coefficient of thermal expansion	ß=2,07e-4

---
The first step to our success-- Test case
Does the source code work ?
What is the supposed scene?
The reference for final simulations

---
implementation
Temperature in stagger grid
Flag modification (temperature)
Boundary
Air conditioning simulation
Inner heat resource simulation

---
Flag modification
Two ways:
Binary as before, but add another digit for temperature
   For first two cells
   00: fluid(white), 01: obstacle(colour or grey),
   11:inner heat resource(black)
Ternary, we get 3 numbers in the center cell,
  0 : fluid
  1 : obstacle without temperature
  2 : obstacle with temperature or inner heat resource
Temp.	center	east	west	south	north

---
Boundary conditions
Set all the domain boundary adiabatic,then modify in spec_boundary_value() for specific cases
Dirichlet boundary condition:
T=Tp
    for the wall the temperature is prescribed
Neumann boundary condition:
T0 =T1
        It can describe how much heat passed, but in our case we set no heat is exchanged --adiabatic

---
Simulating air conditioning
Find the small rectangular fluid cells for “air conditioning”
i.e. i=0~2,j=jmax-10~jmax,that will be the lefttop
Initialize these cells with specific velocity and fixed temperature(in our case in one direction);
In every iteration, set these cells with fixed temperature

---
Inner heat resource
When drawing the pgm file,set all the colors except black and white as obstacles with temp.
Implemented in Flag modification part, modifiy the function read_pgm().

---
Scenario 1: air simulation in a two-floor house
Case1: window closed, left wall and left roof heated by sunshine, gravity Gy.
Case 2: window open, a wind with only x-direction velocity, left wall and left roof heated by sunshine, gravity Gy.
Cases simulation

---
Case simulation
Scenario 2: main view of the 2nd floor, gravity Gy,discuss the optimal position of 4 choices.

---
velocities of 4 cases
Lefttop of the bedroom
top of the corridor
top of the bedroom
righttop of the kitchen

---
Temperatures of 4 cases

---
Scenario 3: top view of the 1st floor
Case simulation

---
Temperatures and velocities

---
Acquarius(water)
Scenario 4 :
Temperature critical point
Automatically temperature control

---
Optimization
SOR Solver optimized by multigrid.
1. smooth by GS. Because sor and Jacobi lead to divergence
2. restrict residual Set dirichlet boundary condition after restriction in every iteration.
3. solve coarse grid system
4. interpolation
5. correct fine grid solution

---
Multigrid & SOR
T_end	T_sor (s)	T_mg (s)
1.0	27.52	0.41
2.0	55.12	0.83
4.0	106.99	1.67
8.0	214.44	3.25

---
Multigrid & SOR
Speedup = 65.16!!
Multigrid
SOR

---
Outlook
SO FAR..
Realize arbitrary geometries with inner heat resources
Different kind of temperature and velocity boundaries
Finish the optimization of multigrid method
TOWARDS..
Parallelization
3D case
Chemistry transport
...